RCAP/AWWA Small Systems Risk and Resilience Assessment Worksheet

The information in the worksheet addresses the basic elements of a risk and resilience assessment for small systems to comply with America’s Water Infrastructure Act of 2018. The information can be used to support the inputs necessary for the Vulnerability Self-Assessment Tool (VSAT) which follows the ANSI/AWWA J100 Standard for Risk and Resilience Management.

Section 1:  Utility Information

A. UTILITY NAME and PWSID: _____________________________________________________________

B. DATE OF ASSESSMENT: _______________________________________________________________

C. CONTACT PERSON: ___________________________________________________________________

D. UTILITY PHYSICAL ADDRESS: ___________________________________________________________ _____________________________________________________________________________________ _____________________________________________________________________________________

E. UTILITY PHONE: ____________________________________________________________________

F. CONTACT EMAIL:  ___________________________________________________________________

G. WATER      WASTEWATER      BOTH        (Circle one)

H.  UTILITY MISSION: __________________________________________________________________ _________________________________________________________________________________________________________________________________________________________________________

I. UTILITY DESCRIPTION (include water source, length of pipe, storage, treatment type, MGD, population served, connections, etc.):

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

An asset is critical if, without it, a Utility cannot meet its mission (typically to provide safe water and fire flow). Circle any assets that apply to your utility.

Section 2:  Potential Critical Assets

Monitoring Practices

- water quality sensors

- laboratory resources

- sampling capabilities

- data management equipment and systems

- security cameras

- access control systems

Source Water

- surface water (e.g. river, lake, reservoir)

- groundwater

- purchased water

- raw water transmission or conveyance systems

Physical Barriers (these are mitigation measures that protect other assets)

- fencing, bollards, and perimeter walls

- gates and facility entrances

- intrusion detection sensors and alarms

- access control systems (e.g., locks, card reader systems)

- hardened doors, security grilles, and equipment cages

Pipes and Constructed Conveyances, Water Collection and Intake

- intake structures and associated pumps and pipes

- aqueducts

- bridge or riverbed crossings

- other conveyances

Pretreatment and Treatment

- treatment plant

- sedimentation basins

- filtration

- disinfection process

- flocculation basins

- backwash system

- raw water pumps

- chemical use, storage, and handling

Storage and Distribution Facilities

- distribution system

- pump stations

- finished water clearwell, tanks, & reservoirs

- valves/appurtenances (e.g. air release and pressures release)

- booster stations

- meters

Financial Infrastructure and Other Assets

- customer billing & accounting systems

- human resources/employee information system

- third parties used for the above services

- admin computer systems

Electronic, Computer, or Other Automated Systems

- SCADA system

- AMR/AMI

- GIS mapping

- monitors and other interfaces

- related IT hardware and software and communications

- IT hardware & software

- telemetry and communications systems

- HVAC system

- generators

Using the information above and your Field Assessment, list out other assets your utility should consider:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Section 3: Potential Threats

Evaluate the likelihood of each of the following threats occurring to your system.  You may base your evaluation on your knowledge of sources such as:

- Past history of incidents

- Law enforcement information

- Industry known threats

- Local jurisdiction’s natural hazard mitigation plan (updated every 5 years)

Consider these definitions to assign an estimated likelihood to the threats in Table 3-1:

| Almost Certain | Expected to occur at least once in a given year |
| --- | --- |
| Likely | Could occur at least once every 10 years |
| Possible | It is conceivable that this could happen, but only expected infrequently |
| Unlikely | It is conceivable that this could happen, although only in unusual circumstances |
| Rare | It is not conceivable that this could occur |

TABLE 3-1

| Threat (Intentional or Accidental) | Notes | Estimated Likelihood |
| --- | --- | --- |
| Malevolent acts/Human-caused events |  |  |
| Active Assailant | Assault on Utility Staff (e.g. Active shooter) |  |
| Contamination of Source Water- Intentional | Any type of contamination to source water introduced purposely by a human |  |
| Contamination of Source Water- Accidental | Consider potential upstream sources of contamination to a source water that may occur through an accidental release (e.g. chemical or fuel storage facility, pipeline, transportation accident) |  |
| Contamination of Finished Water- Intentional | Any type of contamination of water in the distribution system introduced purposely by a human |  |
| Contamination of Finished Water- Accidental | Any type of contamination of water that occurs accidentally (e.g. back flow at a hydrant or commercial facility) |  |
| Theft or Diversion- Physical | Steal or divert information, dangerous substances, valuable resources, etc., such as copper theft |  |
| Sabotage- Physical | Physical attack on utility infrastructure, such as sledgehammer to a power panel or arson |  |
| Cyberattack - Business Enterprise Systems | Cause harm by damaging, disabling, or destroying business software systems |  |
| Cyberattack - Process Control Systems | Cause harm by damaging, disabling, or destroying process control systems |  |
| Weaponized Transportation | Attack from a vehicle, boat or aircraft |  |
| Other: |  |  |
| Other: |  |  |
| Natural Hazards |  |  |
| Flood | Damage potential based on FEMA flood zones for 100-year or greater floods |  |
| Earthquake | Damage from an earthquake |  |
| Tornado | Destruction assumed in area hit by tornado |  |
| Ice Storm/Winter weather | Winter weather affecting an asset |  |
| Drought | Systematic drought conditions that cause your utility to implement policy changes. For drought information, visit drought.gov |  |
| Wildfire | Fire that may affect or engulf an asset |  |
| Hurricane | Destruction assumed in area impacted by hurricane |  |
| Other: |  |  |
| Other: |  |  |
| Dependency and Proximity Hazard Reference Threat Scenarios |  |  |
| Utilities | e.g. power, communication, etc. |  |
| Key Suppliers | Service interruption for the number of days set as the supplier resilience standard |  |
| Key Customers | Unable to take production for the number of days set as the customer resilience standard |  |
| Key Employees | Unable/unwilling to come to work for the number of days set as the employee resilience standard |  |
| Transportation | Facilities into and/or out of the site are inoperable (e.g. can’t receive chemical supply because bridge is washed out) |  |
| Proximity | Nearby assets that could impact utility operations (e.g. underground storage tanks affecting groundwater; chemical storage area nearby that can affect Utility asset) |  |
| Other: |  |  |
| Other: |  |  |

List ten of the most important threats that could affect your Utility and circle the top five you think could cause the most significant disruption to your system’s mission:

1.  _______________________________________

2.  _______________________________________

3.  _______________________________________

4.  _______________________________________

5.  _______________________________________

6.  _______________________________________

7.  _______________________________________

8.  _______________________________________

9.  _______________________________________

10.  _______________________________________

Section 4: Potential Consequences

Consider consequences of losing each asset if a particular threat occurs. Use these definitions for consequence of loss of an asset:

| Insignificant | No expected injury or damages |
| --- | --- |
| Minor | Acceptable risk. The asset can probably still function with the identified threats, but the threats must be observed to monitor changes that could increase the risk level. |
| Moderate | Moderate risk. The asset might or might not function properly when this threat occurs. The threat must be monitored on a regular basis, with consideration of whether additional measures may be necessary to ensure operations continue. |
| Major | This is an unacceptable risk level. The asset unlikely to function properly if the threat occurs and potential for injuries. Mitigative actions are needed to reduce the risks of the threat to the asset. |
| Severe | This is an unacceptable risk level to asset/function and may result in one or more fatalities. Requires prompt action to mitigate risk. |

Using the Estimated Threat Likelihood from Table 3-1, match it to the Consequence of Loss in Table 4-1 for each asset to determine the Risk for each Threat-Asset Pair. Risk is shown in the colorful boxes as Low, Medium, High or Extreme.

TABLE 4-1

|  | Consequence of Loss of an Asset |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Estimated Threat Likelihood |  | Insignificant | Minor | Moderate | Major | Severe |
|  | Almost Certain | Medium | High | High | Extreme | Extreme |
|  | Likely | Medium | Medium | High | Extreme | Extreme |
|  | Possible | Low | Medium | Medium | High | Extreme |
|  | Unlikely | Low | Low | Medium | High | High |
|  | Rare | Low | Low | Low | Medium | High |

In Table 4-2, write the consequence, in words, if the threat were to occur and affect the asset. 
The example is shown in italics. Repeat this table as needed to complete all Assets and top Threats. For each Threat-Asset Pair, circle its risk to the Utility as Low, Medium, High or Extreme based on the information in Table 4-1.

TABLE 4-2

|  | Threat: Intentional Contamination | Threat: | Threat: | Threat: | Threat: |
| --- | --- | --- | --- | --- | --- |
| Asset: Groundwater Well | 50% of population served may become sick or die Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme |
| Asset: | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme |
| Asset: | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme |
| Asset: | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme |
| Asset: | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme |
| Asset: | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme |
| Asset: | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme |
| Asset: | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme |
| Asset: | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme |
| Asset: | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme |
| Asset: | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme |
| Asset: | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme | Low Med High Extreme |

Section 5 Choose Mitigation Measures for Critical Assets:

| Assets at Greatest Risk and Consequence of losing them (in words) from Table 4-2 | Potential Mitigation Measures |
| --- | --- |
| EXAMPLE: Groundwater Well 50% of population served may become sick or die | Lock wellheads |
|  | Monitor water quality |
|  | Place cameras onsite to detect intruders |

| Assets at Greatest Risk and Consequence of losing them (in words) | Potential Mitigation Measures |
| --- | --- |

| Assets at Greatest Risk and Consequence of losing them (in words) | Potential Mitigation Measures |
| --- | --- |

Section 6: Additional AWIA Requirements

- Describe any monitoring practices of the system (e.g. CCTV, alarms, water quality monitoring, etc.) and any changes/suggestions to improve resiliency

- Describe the Financial Infrastructure (to back up data in case it is lost for any reason) and any changes/suggestions to improve resiliency

Encompasses the chemicals and associated storage facilities and handling practices used for chemical disinfection and treatment. Assessments under this asset category should focus on the risk of uncontrolled release of a potentially dangerous chemical like chlorine where applicable.

The Use, Storage, or Handling of Chemicals

Describe use, storage, or handling of various chemicals on site (include chemical delivery procedures) and any changes/suggestions to improve resiliency

- Describe the operation and maintenance practices of the system and any changes/suggestions to improve resiliency

- List any capital improvement projects needed to improve resiliency

- List any operational/maintenance needs to improve resiliency

- List any changes/improvements to procedures to improve resiliency